English exam

Level: M1

Duration: 02 hours

First name:                                               Last name:                                            Group:

The basic single-phase two-winding transformer scheme is shown in the figure below, where the two windings are wrapped around a magnetic core. It is assumed here that the transformer is operating under sinusoidal-steady-state excitation. Shown in the figure are the phasor voltages E1 and E2 across the windings, and the phasor currents I1 entering winding 1, which has N1 turns, and I2 leaving winding 2, which has N2 turns. A phasor flux ϕc set up in the core and a magnetic field intensity phasor Hc are also shown. The iron core has a cross-sectional area denoted Ac, a mean length of the magnetic circuit lc, and a magnetic permeability μc, assumed constant. For an ideal transformer, the following are assumed:

1. The windings have zero resistance; therefore, the I2R losses in the windings are zero.

2. The core permeability μc is infinite, which corresponds to zero core reluctance, and therefore, all the flux is confined in the magnetic core and links both windings. In other words, there is no leakage flux.

Ampere’s and Faraday’s laws can be used along with the preceding assumptions to derive the ideal transformer relationships. Ampere’s law states that the tangential component of the magnetic field intensity vector integrated along a closed path equals the net current enclosed by that path.

If the core center line shown in Figure 1 is selected as the closed path, and if Hc is constant along the path as well as tangent to the path, then the magneto-motive force becomes

MMF=N1I1-N2I2

For constant core permeability μc, the magnetic flux density Bc within the core, also constant, is

Bc=μcHc

Faraday’s law states that the voltage v induced across an N-turn winding by a time-varying flux ϕc linking the winding.

Questions

- What are the main parameters in a transformer?

………………………………………………………………………………………………………………………………………………………………………………………

- Of which material(s) the magnetic core is made? why?

………………………………………………………………………………………………………………………………………………………………………………………

- Is it possible to separate the two windings in the air? What happens in this case?

………………………………………………………………………………………………………………………………………………………………………………………

- According to the text, derive the mathematical expressions of the Ampere’s and Faraday’s laws.

……………………………………………………………………………………………………………………………………………………………………………………..

- Is it possible to induce voltage in the secondary by DC-exciting the primary? Explain

………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………

- Describe the following equation:

MMF=RΦ  where: R represents the magnetic reluctance.

………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………

- By analogy to an electrical circuit, what is the equivalent law to this equation? Explain in two sentences

………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………

- Among the following words, chose synonymous for the underlined word in the text.

Enclosed, kept, curving, track, conductor, installed

- Read carefully the following paragraph and complete the blanks to make a sense for the whole text.

In real transformer, the previous hypothesis are not true; In fact, windings have………………………………, and then, …………. ………………………………………………………………. The magnetic core has finite permeability,………………………………………………….  ……………………………………………………………………………… . Amount of this flux encloses the windings through the air, without linking the both. This flux is called ………..……………. flux. The flux that is shared by the windings is called …………..…………. flux.

Good luck

English exam

Level: M1

Duration: 02 hours

First name:                                               Last name:                                            Group:

The equivalent circuit of a single-phase two winding transformer at the operating frequency is often given by a T-model taking in account series and shunt parameters. Series parameters includes resistances and leakage reactances in the primary and secondary sides. The magnetic core behavior is represented by a shunt magnetizing branch in the primary side, including resistance and inductance taking in account eddy current, hysteresis phenomena and saturation. In power system, to analyze practical circuits containing transformers, it is usually necessary to have the equivalent circuit at a single voltage level; therefore, the equivalent circuit can be referred to either the transformer’s primary side or its secondary side. From the primary, series parameters in the secondary are seen a2 times their real values, whereas, primary parameters seems as divided by a2 where a=E2/E1.

Under rated conditions (maximum current and voltage), especially in large transformers, the effect of magnetizing current can be neglected and therefore, it is possible to move the shunt branch to one terminal, (generally to the high voltage terminal). The obtained approximated circuit is than simplified and enough accurate for modelling and transformer parameters estimation.

Technically, it is possible to determine all parameters in the transformer model presented in Figure below when this one is referred to one side. Usually theses parameters are found by carrying out two experiments, or tests; Open circuit (no load) and short-circuit tests. In open circuit test, rated voltage is applied in the primary, an ammeter and wattmeter are used to measure the absorbed current and Watts. In the short-circuit test, the same measurements are used in the primary, however, the secondary is shorted and the primary supplying voltage is set gradually until short circuit currents reaches rated value.

Questions

- The text deals with two principal axes. Cite them

………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………

- Why it is necessary to refer the transformer model to one side?

……………………………………………………………………………………………………………………………………………………………………………………….

- What does the parameter ‘a’ represent?

……………………………………………………………………………………………………………………………………………………………………………………….

- According to the text, give the equivalent circuits referred to both primary and secondary of the circuit above. Indicate all the series and shunt parameters.

- Give for each equivalent circuit, the equivalent series impedance.

………………………………………………………………………………………………………………………………………………………………………………………..

- How many test are necessary to determine all transformer parameters? Cite them

………………………………………………………………………………………………………………………………………………………………………………………..

- Give the equivalent circuit used to carry out open and short circuit experiments using a primary-referred model. Indicate the meaning of each parameters in this circuit.

- According to the measurements in each test, how can you express series parameters?

…………………………………………………………………………………………………………………………………..

…………………………………………………………………………………………………………………………………….

- Read carefully the next paragraph and complete the blanks using the following sentences to make a sense for the whole text

In per unit, base voltage, rated voltage, pu values,  the rated voltages at both side, save their pu values

In power systems, parameters are often expressed in…………………………………...in a specified base. In a transformer at the high voltage side, the nominal high voltage is ……………………………….., and at the low voltage side, the nominal voltage is ………………………………... Therefore,…………………………………………………………are 1 pu. In addition impedances ……………………………………………. when they are transferred from the primary to the secondary and vice versa.

Good luck